## High-level Considerations
Checklist: High level considerations for operation theatre complex
S No | Operation theatre complex functions | Yes/No | Details | Yes/No | Description/Remarks
A | Semi-restricted zone
1 | Do you plan to perform surgeries under general anaesthesia? |  | 1) If yes, do you plan to provide a separate area for preparation and recovery |  | For paediatric group/advanced eye surgeries
2 | Waiting areas: Do you plan to have separate waiting area for patients undergoing surgery under local anaesthesia and general anaethesia? |  | If yes, would you plan a separate waiting area for attendants of patients who are administered general anaethesia?
3 | Does local anaesthesia include: |  |  |  | Injections such as subtenons, peribulbar or retrobulbar - blocks administered in lying position
Topical
Injection type
4 | Do you plan to have separate areas for screening the patients and administering the block? |  |  |  | Screening area is where patient details are updated (including arrival and exit timings)
5 | Do you plan to have an ICU within the OT complex? |  |  |  | To handle any medical emergencies,
B | Restricted / Sterile zone:
6 | Do you plan to have a separate holding area to prepare patients for surgery? |  |  |  | This reduces the turnaround time in between the surgeries
7 | Do you plan to provide separate service corridor to
- to transfer used/unsterile instruments and linen?
- to transfer sterile instruments and linen?
8 | Do you plan to include a short-cycle autoclaving process in addition to long-cycle autoclaving |  | If yes, would be placed in the CSSD itself? |  | Flash steriliser to autoclave surgical instruments in between the surgeries
Do you plan to have minor OT within the OT complex?
9 | Will there a store to maintain sterile consumables? |  |  |  | This store will stock the consumables required to perform surgeries
C | Central Sterile Supplies Department
10 | Do you plan for an uni-directional flow of the sterile instruments/ linen? |  |  |  | To avoid mixing up the sterile and unsterile instruments/linen etc.
11 | Do you plan on a gas steriliser?
12 | Does the plan include a storage area for the sterile instruments and linen?

## Detailed
Standardised Architectural Modules for Layouts
Checklist: Detailed checklist for operation theatre complex
S No | Operation theatre complex functions | Yes/No | Proposed location | Description/Remarks
A | Semi restricted zone (Pre-operation zone)
1 | Patient zone
1.1 | Lobby, screening & waiting area |  |  | Patient details updated a the time of entry & exit
1.2 | Patient preparation area |  |  | Some hospitals may have dress change for patients as part of the protocol
1.3 | Local anaesthesia area |  |  | Provision to administer the topical and injection type anaethesia
| Topical |  |  | Blocks administered in sitting position
| Injection type |  |  | Subtenons, peribulbar or retrobulbar - blocks administered in lying position
1.5 | General anaesthesia area
| Preparation area for patients receiving general anaesthesia |  |  | For paediatric group/advanced eye surgeries
Waiting area for attendants of patients who will be adminstered general anaesthesia
1.6 | Intensive care unit to handle emergencies |  |  | Treatment and care for unforeseen emergency situations
1.7 | Toilets and water points
2 | Staff zone |  |  | Separate entry can be provided to the patients and staff depending on the space availability
2,1 | Dress change rooms
| Doctors - male |  |  | a) Change to sterile gowns before entering the sterlie zone, b) To provide lockers, a table, (3' by 2') & space for placing one or two coat stand Dress change - can be divided as male and female or by the roles - whatever is applicable locally
Doctors - female
Nurses
Wardboys
2.2 | Staff lounge with toilets |  |  | a) Lounge for the staff to rest in between surgery and refresh b) No of toilets to be decided by the hospital depending on the number of operating rooms and staff
Doctors
Nurses
Wardboys & other staff
2.3 | Janitor's store |  |  | Store and cleaing and washing equipments / can be part of staff lounge
B | Restricted / sterile zone (Surgery zone):
3 | Restricted corridor |  |  | Passage connecting blocked patients and gowned staff to operating rooms
4 | Air-lock rooms |  |  | Buffer zone before entering the surgery zone
5 | Scrub alcove |  |  | Hand wash and gowning area for the staff
6 | Wheelchair/Stretcher alcove |  |  | Wheel chairs storing area
7 | Waiting area |  |  | Waiting area for patients pre-surgery
8 | Anaesthetist room |  |  | To administer general anaesthesia
9 | Operating rooms |  |  | No of operating rooms to be determined by patient volumes & sub-speciality surgeries
10 | Sterile consumables store |  |  | Surgical sterile needs during surgery acccessed form this room
C | Central Sterile Supplies Department (CSSD)
16 | Receiving room |  |  | Room for receiving soiled items and dispatch for sterilization
17 | Soiled linen washing room |  |  | Washing area for staff linen
18 | Linen packing room |  |  | Packing of linen
19 | Washing room for soiled surgical supplies (especially instruments) |  |  | Washing soiled surgical supplies, 10"x10" room for washing surgical bins and vessels;
20 | Surgical supplies packing room |  |  | Packing surgical supplies post washing
21 | Room for storing sterile surgical supplies |  |  | 10" by 15" room for storing saline, cotton and bandage rolls, extra linen, masks, caps, foot wear
22 | Designated area for short-cycle autoclaving |  |  | To sterilise surgical instruments in between surgeries
23 | Designated area for long-cycle autoclaving
24 | Gas sterlization room |  |  | Surgical equipments sterlized with ethylene oxide sterlizer
25 | Sterlie supply store |  |  | Store and issue of sterile supplies to theatre
26 | Dress change room with toliet
D | Recovery area (Post-surgery zone)
27 | Day care ward for patients with no hospital stay
28 | Recovery room for patients who were operated under general anaesthesia
29 | Toilets
E | Services area (Service zone)
30 | AHU room |  |  | Air-handling unit
31 | Janitor room |  |  | Housekeeping area
Note:
** Foot washing is required depending on the personal hygiene of the patient. Should be positioned before the theatre lobby
** Short cycle and long cycle - Current autoclaves performs both short and long cycles. Additional space can be considered if the hospital plans to have more than one autoclave