## Sheet1
Standardised Architectural Modules for Layouts
Checklist for an operating room |  |  |  | New checklist
S No | Room Name | Yes/No | In numbers (where applicable) | Remarks
1 | Equipment - Clinical (Equipment may vary in ORs handling paediatric patients, vitreo-retina surgeries, LASIK or minor surgeries)
1.1 | Operating microscope
1.2 | Phaco machine |  |  | Except a dedicated operating room to perform vitreo-retina surgeries
1.3 | Mini-crash cart
1.4 | Pulse oximeter
1.5 | CT/MRI scan reader
1.6 | Centralised piped/cylinder oxygen supply
1.7 | Others:
Anterior/Posterior vitrectomy
Boyle's apparatus
2 | Instrumentation - Non-clinical
| LCD monitor |  |  | In the case of teaching hospital
| Computer & peripherals |  |  | In the case of EMR
LAN/Wireless connectivity
| Power supply sockets |  |  | for charging and continued power supply through UPS as well as regular power supply
Intercom facility to communicate within the OT complex
3 | Furniture
3.1 | Operating table(s) |  |  | More than one table in case of twin table throughput model
3.2 | Patient foot rest
3.3 | Portable worktops
3.4 | Instrument trolleys
3.5 | Surgeon's stool
3.6 | Observer's stool |  |  | If it is a teaching hospital or as required
4 | Operating room set up
Separate outlet or exit door to pass unsterile/used instruments/linen
Separate entry/exit for patients and staff
Compressed air
| Temerature & humidity control |  |  | Desired: To maintain 20 Deg celsius Humidity: around 66%
| Fixed worktops |  |  | 1 or 2 per operating room
| AHU conduit |  |  | AHU - separate for each operating room:
* | Preferred practices (such as flooring, walls, power supply, AHU related will be discussed in the write-up